Automated Bacterial Colony Detection, Counting, and Morphology Analysis

Group members: Hussein Chreif – Mostafa Younes

Problem Formulation:

In microbiology laboratories, bacterial growth is typically analyzed using petri dish cultures, where specialists manually:

- count bacterial colonies

- estimate colony size and spatial distribution

- assess growth intensity

This manual process suffers from several limitations like Time-consuming for large samples, Subjectivity, dependency on the observer, Inconsistency and may lead to variability between analyses.

Objective:

The goal of this project is to develop an automated computer vision system that:

- detects bacterial colonies in petri dish images

- segments individual colonies

- extracts morphological features

- provides quantitative analysis including:

  - colony count

  - size distribution

  - spatial density

Proposed Approach:

We propose a hybrid computer vision pipeline combining:

🔹 Classical Computer Vision

- thresholding (Otsu / adaptive)

- morphological operations

- contour detection

🔹 Deep Learning

- U-Net for segmentation

- optional YOLO / Mask R-CNN for detection

🔹 Feature-Based Analysis

- extraction of geometric and statistical features

- rule-based or ML-based classification

Our Pipeline:

Input Image -> preprocessing -> segmentation -> colony detection & extraction -> feature extraction -> counting & morphological analysis -> growth classification -> visualization & output

Technical components:

Preprocessing: grayscale conversion, Gaussian filtering (noise reduction), normalization, contrast enhancement

Segmentation: Classical (thresholding, morphological operations), Deep Learning (U-Net (pixel-wise segmentation)).

Colony Detection: contour-based detection (OpenCV), optional YOLO-based detection

Feature Extraction: Morphological Features (area, perimeter, circularity), Spatial Features (centroid, distribution pattern), global features (total colony count, density)

Analysis & Output: colony counting, size distribution histograms, density heatmaps, optional classification (low / medium / high growth)

Datasets used:

Bacteria Data for Machine Vision and Digital Biology - Mendeley Data

Microbial Colony Recognition Dataset – Kaggle

Synthetic cells | Broad Bioimage Benchmark Collection

Human U2OS cells (out of focus) | Broad Bioimage Benchmark Collection

Murine bone-marrow derived macrophages | Broad Bioimage Benchmark Collection

The Microbial Colony Recognition dataset (Kaggle) will be used as the primary dataset for the main tasks, including colony detection, counting, and final analysis.
The Bacteria Data for Machine Vision dataset (Mendeley) will be utilized for optional classification experiments related to bacterial morphology.
Additionally, selected datasets from the Broad Bioimage Benchmark Collection (BBBC) will be used to train and evaluate segmentation models, particularly for learning robust pixel-wise segmentation using architectures such as U-Net.